Atomic Force Microscope System: Dimension Edge (Bruker AXS Inc., USA)

Software: NanoScope Analysis 1.2 (Veeco Instruments Inc., USA)

Imaging Mode: Tapping

Sample: Polished Fe94.769C0.18Si0.24Mn0.52Mo0.62Ni1.26Cr2.22Cu0.080P0.010S0.013V0.08Co0.008 steel

Description: 	Surface of the sample was etched by HCl acid. The acid was mixed with water in ratio of 1:15 and applied in two steps. The sample was first immersed in acid for 2 minutes and then checked on optical microscope. After that, it was immersed again into the acid for the time of 5 more minutes.

AFM/MFM Image Description

| Vert. distance | Pixel no. | Line no. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 0 | 0 | 1 |  |  |  |
| … | … | … |  | Image |  |
| n [µm] | 511 | 512 |  |  |  |
|  |  |  |  | Horiz. distance |  |
|  |  |  | 0 | … | n [µm] |

Colour bar:

AFM – height [nm]

MFM – phase shift [°]

Scan 5: 1 × 1 µm2

Topography	Magnetism

Topography	Magnetism

(y-axis: normalized height)	(y-axis: normalized phase shift)

Scan 6: 3 × 3 µm2

Topography	Magnetism

Topography	Magnetism

(y-axis: normalized height)	(y-axis: normalized phase shift)

Scan 7: 20 × 20 µm2

Topography	Magnetism

Topography	Magnetism

(y-axis: normalized height)	(y-axis: normalized phase shift)

Scan 8: 20 × 20 µm2

Topography	Magnetism

Topography	Magnetism

(y-axis: normalized height)	(y-axis: normalized phase shift)